## Sheet1
Size of 100% illuminated field
f/ratio | 7 |  |  | Bottom Clear Aperture | Path length | Diameter | Area | % Illum @ 27mm | Actual illum
compensator | 1 | x | Baader | 28 | 110 | 12.2857 | 118.5435 | 77.85% | 77.85% | 77.85% | 25.784 | 52.0683
effective focal length | 7 |  | TV | 27 | 130 | 8.4286 | 55.7937 | 69.76% | 69.76% | 69.76% | 17.689 | 52.0683
bottom clear aperture | 27 | mm | Denk II | 26 | 114 | 9.7143 | 74.1138 | 72.46% | 72.46% | 72.46% | 20.3874 | 52.0683
binoviewer path length | 130 | mm | Denk | 26 | 114 | 9.7143 | 74.1138 | 72.46% | 63.71% | 72.46% | 20.3874 | 52.0683
size of 100% illuminated field | 8.4286 | mm | Siebert | 22 | 112 | 6 | 28.2735 | 64.66% | 64.66% | 64.66% | 12.5922 | 52.0683
|  |  | Binomate | 17 | 102 | 2.4286 | 4.6321 | 57.17% | 57.17% | 57.17% | 5.0968 | 52.0683
|  |  | Siebert 2" | 40 | 181 | 14.1429 | 157.091 | 81.75% | 81.75% | 81.75% | 29.6816 | 52.0683
|  |  | Siebert 2" | 45 | 184 | 18.7143 | 275.0576 | 91.34% | 91.34% | 91.34% | 39.2757 | 52.0683
|  |  | Siebert 2" | 50 | 210 | 20 | 314.15 | 94.04% | 94.04% | 94.04% | 41.974 | 52.0683
|  |  | Your input | 46 | 50 | 38.8571 | 1185.8201 | 100% | 100% | 133.6% | 81.5495 | 52.0683
I made the most likely inaccurate assumption that a corrector will not reduce the clear aperture of the binoviewer. I assumed it only increased the focal ratio of the telescope. Too hard to do anything else.
The important clear aperture is the one measured at the nose of the binoviewer. This could be the lower prism size, if you are not using a corrector. It could be limited by a corrector, if you use one. It could be limited by a nosepiece if it is poorly designed. It could be limited by improper baffling inside the binoviewer, but I have not heard reports of this on any binoviewer.
The numbers for each binoviewer might be off a bit since I couldn't find data published on each maufacturers web site. It it's off, just put in your own numbers and that should make it right as rain.
The most interesting thing I gleaned from this data is the penalty in illuminated field that the TV takes because of it's increased path length. At 130mm, it far exceeds the average path length of the shorter units and it pays for that. That 16mm of extra path length reduces the illuminiated field in my f/5.4 Starmaster by 1.3mm as compared to my Denk Stds. Does that matter? Heck, I doubt it shows up at the ep, but why do people compare a 10" dob to an 11" dob? Because we can. I just like to crunch numbers every now and again.
Another interesting tidbit is that it would take an f/110 light cone going through the Baaders without a corrector to fully illuminate a 27mm field. That's a big telescope. Or a 20x corrector in my dob. So, bigger is better, but may not mean all that much in the big picture. Enjoy the two eyed views.

## Sheet2
|  | f/ | 1mm | 7.4mm | 9.8mm | 13.4mm | 22mm | [5 empty] | y=.1161x+1.0357 |  | 8.6133
Clear Aperture | 100% | 4.2 | 75 | 80 | 86 | 89 | 97 | 1.0781 | 4.2 | 1.0756 | 4.2 | 0.2561 | 1.1606 | 3.0876 | 27.2179
27 | 9.8 | 5.6 | 64 | 74 | 80 | 86 | 97 | 1.5884 | 5.6 | 1.5919 | 5.6 | 0.28427 | 1.2205 | 2.5757 | 39.2765
22 | 7.4 | 8 | 47 | 60 | 68 | 81 | 97 | 2.4632 | 8 | 2.4615 | 8 | 0.30769 | 1.3215 | 2.115 | 59.9483
[9 empty] | 4.2 | 73.87
[9 empty] | 5.6 | 63.135 | 4.2 | 15.0321 | y=-6.1x+22.8
|  |  | 4.2 | 5.6 | 8 |  |  |  | 8 | 44.213 | 5.6 | 7.8952
|  | 1 | 75 | 64 | 47 | [5 empty] | 8 | 0
|  | 7.4 | 80 | 74 | 60
|  | 9.8 | 86 | 80 | 68
|  | 13.4 | 89 | 86 | 81
|  | 22 | 97 | 97 | 97

## Sheet3
I updated my clear aperture spreadsheet to include % illumination at 27mm. It is on my binoviewer page along with an explanation (at the bottom):
http://www.tomhole.com/Binoviewers.htm
What jumps out at me is that slow f/ratios are much more sensitive to vignetting than fast ones. That is what the Newt caculator spit out, anyway. Maybe I missed something important.
Anyway, for a quick reference:
my Starmaster - f/5.6
my corrector - 1.38x
my effective f/ratio - 7.7
100% illiminated size
TV - 10.2 mm
Denk stds - 11.2 mm
% illumination at 27mm
TV - 71%
Denk Stds - 74%
You can download the new spreadsheet to calculate your particular binoviewer. If you accept that binoviewers vignette in a similar way as newts with undersized secondaries (not sure if that's true), then the data show that there is some light loss, but not so much as to ruin the view. 30% is about a .37 mag loss.
As always, critique and corrections are welcome. I realize this is over analyzing, but I find this geek stuff interesting.
Clear skies,
Tom